## Sheet1
Time point (min) | Pump 1 | Pump 2 | Pump 3 | Valve 1 | Valve 2 | Valve 3 | Notes
0 | Off | Off | Off | CCW | CCW | CCW
0.21968 | [6 empty] | 1st vial | bar: Pump 1
0.28635 | Pump 1: Off
0.50603 | [6 empty] | 2nd vial |  | seconds | minute | bar: Pump 1
0.5727 | Pump 1: Off |  | Time interval | 13.181 | 0.21968
0.79238 | [6 empty] | 3rd vial | Time stop each step | 4 | 0.066667 | bar: Pump 1
0.85905 | Pump 1: Off
1.0787 | [6 empty] | 4rd vial | bar: Pump 1
1.1454 | Pump 1: Off